## Home Maintenance Schedule
Home Maintenance Schedule
Date Last Completed |  | Interior
2015-04-04 | 2016-04-03 | Cooling System | Remove debris from ground unit and clean with garden hose.
|  | Heating & Cooling | Clean and replace filters if necessary. Service annually.
|  | Refrigerator & Freezer | Clean dust from tap. Clean and defrost freezer if necessary.
|  | Oven | Clean oven and racks
|  | Water Softener | Add salt or change filter
|  | Kitchen Exhaust Fan | Remove and clean filter. Clean grease deposits from fan housing.
|  | Ceiling Fans | Clean and dust fan blades and lights.
|  | Carbon Monoxide Detector | Test and replace battereies
|  | Smoke Detector | Test and replace battereies
|  | Fireplace | Inspect flues. Clean if necessary. Inspect brick and mortar for damage.
Date Last Completed |  | Exterior
|  | Windows | Clean.
|  | Roof | Check for leaks. Check for damaged, loose, or missing shingles.
|  | Chimney | Clean and check for deteriorating bricks and mortar. Check for leaks.
|  | Gutters and Downspouts | Clean and check for leaks, misalignment, or damage. Remove debris.
|  | Septic System | Examine drain field for flooding and odor. Have tank pumped yearly.
|  | Grill | Clean grill racks and interior. Empty grease drip pan.
|  | Lawn and Patio Furniture | Clean and store or cover with weatherproof material during winter.
|  | Decks | Scrub mildewed areas 3 inches away from house. General upkeep
|  | Landscaping | Trim shrubs at least 3 inches away from house. General upkeep.
|  | Lawn Equipment & Tools | Maintain. Change oil and filters. Clean an lubricate.
|  | Concrete and Asphalt | Check for cracks or deterioration.Reseal or repair if necessary.